## Data
NUTRIENT ANALYTICAL SERVICES LABORATORY DATA REPORT
Chesapeake Biological Laboratory
146 Williams Street / P.O. Box 38
Tel: 410-326-7252
http://www.umces.edu/nutrient-analytical-services-laboratory
Jerome M. Frank- Laboratory Manager
Client: | SMCM Gurbisz
Project ID: | NSF Chalk
Reference #: | NA
POC: | Dr. Cassie Gurbisz
Address: | cbgurbisz@smcm.edu
Sample ID | Sample Date | Received Date | NASL ID | Matrix | Prep Date | Analysis Date | Parameter | <MDL/RL | Result | Unit | MDL/RL | Method | Method of Preservation | ELAP Cert # | Analyst | Qualifiers/Comments
1 | MAY 2023 | 2023-07-26 | 1 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.046 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
4 | MAY 2023 | 2023-07-26 | 4 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.018 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
7 | MAY 2023 | 2023-07-26 | 7 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.022 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
10 | MAY 2023 | 2023-07-26 | 10 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.022 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
13 | MAY 2023 | 2023-07-26 | 13 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.085 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
16 | MAY 2023 | 2023-07-26 | 16 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.012 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
19 | MAY 2023 | 2023-07-26 | 19 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.03 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
22 | MAY 2023 | 2023-07-26 | 22 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.015 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
25 | MAY 2023 | 2023-07-26 | 25 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.049 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
28 | MAY 2023 | 2023-07-26 | 28 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.02 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
31 | MAY 2023 | 2023-07-26 | 31 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.043 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
34 | MAY 2023 | 2023-07-26 | 34 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.01 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
73 | MAY 2023 | 2023-07-26 | 73 | W | 2023-08-09 | 2023-08-09 | NH3 | L | 0.009 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
76 | MAY 2023 | 2023-07-26 | 76 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.02 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
79 | MAY 2023 | 2023-07-26 | 79 | W | 2023-08-09 | 2023-08-09 | NH3 | L | 0.009 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
82 | MAY 2023 | 2023-07-26 | 82 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.015 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
85 | MAY 2023 | 2023-07-26 | 85 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.031 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
88 | MAY 2023 | 2023-07-26 | 88 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.015 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
91 | MAY 2023 | 2023-07-26 | 91 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.014 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
94 | MAY 2023 | 2023-07-26 | 94 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.037 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
97 | MAY 2023 | 2023-07-26 | 97 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.012 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
100 | MAY 2023 | 2023-07-26 | 100 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.013 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
103 | MAY 2023 | 2023-07-26 | 103 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.01 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
106 | MAY 2023 | 2023-07-26 | 106 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.011 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
109 | MAY 2023 | 2023-07-26 | 109 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.133 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
112 | MAY 2023 | 2023-07-26 | 112 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.158 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
115 | MAY 2023 | 2023-07-26 | 115 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.01 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
118 | MAY 2023 | 2023-07-26 | 118 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.016 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
121 | MAY 2023 | 2023-07-26 | 121 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.015 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
124 | MAY 2023 | 2023-07-26 | 124 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.01 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
127 | MAY 2023 | 2023-07-26 | 127 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.03 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
130 | MAY 2023 | 2023-07-26 | 130 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.016 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
133 | MAY 2023 | 2023-07-26 | 133 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.018 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
136 | MAY 2023 | 2023-07-26 | 136 | W | 2023-08-09 | 2023-08-09 | NH3 |  | 0.079 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
139 | MAY 2023 | 2023-07-26 | 139 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.01 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
142 | MAY 2023 | 2023-07-26 | 142 | W | 2023-08-09 | 2023-08-09 | NH3 | BR | 0.015 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | Frozen | 12066 | VFN | 35
1 | MAY 2023 | 2023-07-26 | 1 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.007 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
4 | MAY 2023 | 2023-07-26 | 4 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
7 | MAY 2023 | 2023-07-26 | 7 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
10 | MAY 2023 | 2023-07-26 | 10 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
13 | MAY 2023 | 2023-07-26 | 13 | W | 2023-08-09 | 2023-08-09 | PO4 |  | 0.0106 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
16 | MAY 2023 | 2023-07-26 | 16 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
19 | MAY 2023 | 2023-07-26 | 19 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
22 | MAY 2023 | 2023-07-26 | 22 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
25 | MAY 2023 | 2023-07-26 | 25 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0046 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
28 | MAY 2023 | 2023-07-26 | 28 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
31 | MAY 2023 | 2023-07-26 | 31 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0051 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
34 | MAY 2023 | 2023-07-26 | 34 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
73 | MAY 2023 | 2023-07-26 | 73 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
76 | MAY 2023 | 2023-07-26 | 76 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.004 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
79 | MAY 2023 | 2023-07-26 | 79 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
82 | MAY 2023 | 2023-07-26 | 82 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
85 | MAY 2023 | 2023-07-26 | 85 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0046 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
88 | MAY 2023 | 2023-07-26 | 88 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
91 | MAY 2023 | 2023-07-26 | 91 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
94 | MAY 2023 | 2023-07-26 | 94 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0056 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
97 | MAY 2023 | 2023-07-26 | 97 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
100 | MAY 2023 | 2023-07-26 | 100 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
103 | MAY 2023 | 2023-07-26 | 103 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
106 | MAY 2023 | 2023-07-26 | 106 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
109 | MAY 2023 | 2023-07-26 | 109 | W | 2023-08-09 | 2023-08-09 | PO4 |  | 0.0263 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
112 | MAY 2023 | 2023-07-26 | 112 | W | 2023-08-09 | 2023-08-09 | PO4 |  | 0.0289 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
115 | MAY 2023 | 2023-07-26 | 115 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0047 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
118 | MAY 2023 | 2023-07-26 | 118 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0047 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
121 | MAY 2023 | 2023-07-26 | 121 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.004 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
124 | MAY 2023 | 2023-07-26 | 124 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0039 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
127 | MAY 2023 | 2023-07-26 | 127 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0057 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
130 | MAY 2023 | 2023-07-26 | 130 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0037 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
133 | MAY 2023 | 2023-07-26 | 133 | W | 2023-08-09 | 2023-08-09 | PO4 | BR | 0.0043 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
136 | MAY 2023 | 2023-07-26 | 136 | W | 2023-08-09 | 2023-08-09 | PO4 |  | 0.0118 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
139 | MAY 2023 | 2023-07-26 | 139 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
142 | MAY 2023 | 2023-07-26 | 142 | W | 2023-08-09 | 2023-08-09 | PO4 | L | 0.0034 | mg P/L | 0.0034/0.0102 | EPA 365.1 | Frozen | 12066 | VFN | 35
1 | MAY 2023 | 2023-07-26 | GS1 | W | 2023-08-09 | 2023-08-09 | NO23 |  | 0.0063 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
4 | MAY 2023 | 2023-07-26 | GS4 | W | 2023-08-09 | 2023-08-09 | NO23 |  | 0.008 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
7 | MAY 2023 | 2023-07-26 | GS7 | W | 2023-08-09 | 2023-08-09 | NO23 |  | 0.0066 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
10 | MAY 2023 | 2023-07-26 | GS10 | W | 2023-08-09 | 2023-08-09 | NO23 |  | 0.0159 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
13 | MAY 2023 | 2023-07-26 | GS13 | W | 2023-08-09 | 2023-08-09 | NO23 | BR | 0.0043 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
16 | MAY 2023 | 2023-07-26 | GS16 | W | 2023-08-09 | 2023-08-09 | NO23 | BR | 0.0027 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
19 | MAY 2023 | 2023-07-26 | GS19 | W | 2023-08-09 | 2023-08-09 | NO23 |  | 0.0062 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
22 | MAY 2023 | 2023-07-26 | GS22 | W | 2023-08-09 | 2023-08-09 | NO23 | BR | 0.004 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
25 | MAY 2023 | 2023-07-26 | GS25 | W | 2023-08-09 | 2023-08-09 | NO23 |  | 0.0062 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
28 | MAY 2023 | 2023-07-26 | GS28 | W | 2023-08-09 | 2023-08-09 | NO23 | BR | 0.0043 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
31 | MAY 2023 | 2023-07-26 | GS31 | W | 2023-08-09 | 2023-08-09 | NO23 |  | 0.0058 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
34 | MAY 2023 | 2023-07-26 | GS34 | W | 2023-08-09 | 2023-08-09 | NO23 | BR | 0.0042 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
73 | MAY 2023 | 2023-07-26 | GS73 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0024 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
76 | MAY 2023 | 2023-07-26 | GS76 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0022 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
79 | MAY 2023 | 2023-07-26 | GS79 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0105 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
82 | MAY 2023 | 2023-07-26 | GS82 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0014 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
85 | MAY 2023 | 2023-07-26 | GS85 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0022 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
88 | MAY 2023 | 2023-07-26 | GS88 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.003 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
91 | MAY 2023 | 2023-07-26 | GS91 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0077 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
94 | MAY 2023 | 2023-07-26 | GS94 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0023 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
97 | MAY 2023 | 2023-07-26 | GS97 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0037 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
100 | MAY 2023 | 2023-07-26 | GS100 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0039 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
103 | MAY 2023 | 2023-07-26 | GS103 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0145 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
106 | MAY 2023 | 2023-07-26 | GS106 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0081 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
109 | MAY 2023 | 2023-07-26 | GS109 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0224 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
112 | MAY 2023 | 2023-07-26 | GS112 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0143 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
115 | MAY 2023 | 2023-07-26 | GS115 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.012 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
118 | MAY 2023 | 2023-07-26 | GS118 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0143 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
121 | MAY 2023 | 2023-07-26 | GS121 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.002 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
124 | MAY 2023 | 2023-07-26 | GS124 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0104 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
127 | MAY 2023 | 2023-07-26 | GS127 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0125 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
130 | MAY 2023 | 2023-07-26 | GS130 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0187 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
133 | MAY 2023 | 2023-07-26 | GS133 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0095 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
136 | MAY 2023 | 2023-07-26 | GS136 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0071 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
139 | MAY 2023 | 2023-07-26 | GS139 | W | 2023-08-10 | 2023-08-10 | NO23 |  | 0.0231 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
142 | MAY 2023 | 2023-07-26 | GS142 | W | 2023-08-10 | 2023-08-10 | NO23 | BR | 0.0045 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | Frozen | 12066 | KB | 35
1 | MAY 2023 | 2023-07-26 | 1 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7602.2 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
4 | MAY 2023 | 2023-07-26 | 4 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7686.33 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
7 | MAY 2023 | 2023-07-26 | 7 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7462.03 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
10 | MAY 2023 | 2023-07-26 | 10 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7451.01 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
19 | MAY 2023 | 2023-07-26 | 19 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7491.44 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
20 | MAY 2023 | 2023-07-26 | 20 | W | 2023-11-14 | 2023-11-14 | Cl |  | 6229.65 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
21 | MAY 2023 | 2023-07-26 | 21 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7241.5 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
22 | MAY 2023 | 2023-07-26 | 22 | W | 2023-11-14 | 2023-11-14 | Cl |  | 4326.08 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
23 | MAY 2023 | 2023-07-26 | 23 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7422.36 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
24 | MAY 2023 | 2023-07-26 | 24 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7278.05 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
26 | MAY 2023 | 2023-07-26 | 26 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7469.33 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
27 | MAY 2023 | 2023-07-26 | 27 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7039.56 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
28 | MAY 2023 | 2023-07-26 | 28 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7386.67 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
29 | MAY 2023 | 2023-07-26 | 29 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7066.71 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
30 | MAY 2023 | 2023-07-26 | 30 | W | 2023-11-14 | 2023-11-14 | Cl |  | 7496.25 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
73 | MAY 2023 | 2023-07-26 | 73 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10161.87 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
76 | MAY 2023 | 2023-07-26 | 76 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10593.15 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
79 | MAY 2023 | 2023-07-26 | 79 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10564.96 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
82 | MAY 2023 | 2023-07-26 | 82 | W | 2023-12-08 | 2023-12-08 | Cl |  | 11129.43 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
91 | MAY 2023 | 2023-07-26 | 91 | W | 2023-12-08 | 2023-12-08 | Cl |  | 9822.27 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
92 | MAY 2023 | 2023-07-26 | 92 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10309.85 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
93 | MAY 2023 | 2023-07-26 | 93 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10391.44 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
94 | MAY 2023 | 2023-07-26 | 94 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10764.92 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
95 | MAY 2023 | 2023-07-26 | 95 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10427.85 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
96 | MAY 2023 | 2023-07-26 | 96 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10195.49 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
97 | MAY 2023 | 2023-07-26 | 97 | W | 2023-12-08 | 2023-12-08 | Cl |  | 8648.58 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
98 | MAY 2023 | 2023-07-26 | 98 | W | 2023-12-08 | 2023-12-08 | Cl |  | 8821.77 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
99 | MAY 2023 | 2023-07-26 | 99 | W | 2023-12-08 | 2023-12-08 | Cl |  | 9845.36 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
100 | MAY 2023 | 2023-07-26 | 100 | W | 2023-12-08 | 2023-12-08 | Cl |  | 9492.78 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
101 | MAY 2023 | 2023-07-26 | 101 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10036.57 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
102 | MAY 2023 | 2023-07-26 | 102 | W | 2023-12-08 | 2023-12-08 | Cl |  | 10145.66 | mg Cl/L | 0.08/0.80 | SM4110B | Refrigerated | NA | CLH | 30, 36
1 | MAY 2023 | 2023-07-26 | 1 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1069.15 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
4 | MAY 2023 | 2023-07-26 | 4 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1081.17 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
7 | MAY 2023 | 2023-07-26 | 7 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1048.11 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
10 | MAY 2023 | 2023-07-26 | 10 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1046.95 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
19 | MAY 2023 | 2023-07-26 | 19 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1051.96 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
20 | MAY 2023 | 2023-07-26 | 20 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 995.88 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
21 | MAY 2023 | 2023-07-26 | 21 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1012.01 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
22 | MAY 2023 | 2023-07-26 | 22 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 922.86 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
23 | MAY 2023 | 2023-07-26 | 23 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1031.35 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
24 | MAY 2023 | 2023-07-26 | 24 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1006.21 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
26 | MAY 2023 | 2023-07-26 | 26 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1027.06 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
27 | MAY 2023 | 2023-07-26 | 27 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 972.41 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
28 | MAY 2023 | 2023-07-26 | 28 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1015.53 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
29 | MAY 2023 | 2023-07-26 | 29 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 969.39 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
30 | MAY 2023 | 2023-07-26 | 30 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1030.54 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
73 | MAY 2023 | 2023-07-26 | 73 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1468.09 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
76 | MAY 2023 | 2023-07-26 | 76 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1336.49 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
79 | MAY 2023 | 2023-07-26 | 79 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1485.86 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
82 | MAY 2023 | 2023-07-26 | 82 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1446.53 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
91 | MAY 2023 | 2023-07-26 | 91 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1326.13 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
92 | MAY 2023 | 2023-07-26 | 92 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1470.97 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
93 | MAY 2023 | 2023-07-26 | 93 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1420.29 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
94 | MAY 2023 | 2023-07-26 | 94 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1468.5 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
95 | MAY 2023 | 2023-07-26 | 95 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1438.94 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
96 | MAY 2023 | 2023-07-26 | 96 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1452.88 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
97 | MAY 2023 | 2023-07-26 | 97 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1433.4 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
98 | MAY 2023 | 2023-07-26 | 98 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1459.03 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
99 | MAY 2023 | 2023-07-26 | 99 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1491.28 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
100 | MAY 2023 | 2023-07-26 | 100 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1451.1 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
101 | MAY 2023 | 2023-07-26 | 101 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1472.78 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
102 | MAY 2023 | 2023-07-26 | 102 | W | 2023-11-14 | 2023-11-14 | SO4 |  | 1486.62 | mg SO4/L | 0.09/0.90 | SM4110B | Refrigerated | NA | CLH | 30, 36
1 | MAY 2023 | 2023-07-26 | 1 | W | 2023-11-14 | 2023-11-14 | Br |  | 24.82 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
4 | MAY 2023 | 2023-07-26 | 4 | W | 2023-11-14 | 2023-11-14 | Br |  | 25.2 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
7 | MAY 2023 | 2023-07-26 | 7 | W | 2023-11-14 | 2023-11-14 | Br |  | 24.5 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
10 | MAY 2023 | 2023-07-26 | 10 | W | 2023-11-14 | 2023-11-14 | Br |  | 24.48 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
19 | MAY 2023 | 2023-07-26 | 19 | W | 2023-12-08 | 2023-12-08 | Br |  | 568.87 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
20 | MAY 2023 | 2023-07-26 | 20 | W | 2023-12-08 | 2023-12-08 | Br |  | 961.89 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
21 | MAY 2023 | 2023-07-26 | 21 | W | 2023-12-08 | 2023-12-08 | Br |  | 1213.24 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
22 | MAY 2023 | 2023-07-26 | 22 | W | 2023-12-08 | 2023-12-08 | Br |  | 309.92 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
23 | MAY 2023 | 2023-07-26 | 23 | W | 2023-12-08 | 2023-12-08 | Br |  | 274.94 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
24 | MAY 2023 | 2023-07-26 | 24 | W | 2023-12-08 | 2023-12-08 | Br |  | 837 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
26 | MAY 2023 | 2023-07-26 | 26 | W | 2023-12-08 | 2023-12-08 | Br |  | 212.48 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
27 | MAY 2023 | 2023-07-26 | 27 | W | 2023-12-08 | 2023-12-08 | Br |  | 1040.93 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
28 | MAY 2023 | 2023-07-26 | 28 | W | 2023-12-08 | 2023-12-08 | Br |  | 300.12 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
29 | MAY 2023 | 2023-07-26 | 29 | W | 2023-12-08 | 2023-12-08 | Br |  | 1066.69 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
30 | MAY 2023 | 2023-07-26 | 30 | W | 2023-12-08 | 2023-12-08 | Br |  | 340.65 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
73 | MAY 2023 | 2023-07-26 | 73 | W | 2023-11-14 | 2023-11-14 | Br |  | 32.46 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
76 | MAY 2023 | 2023-07-26 | 76 | W | 2023-11-14 | 2023-11-14 | Br |  | 28.3 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
79 | MAY 2023 | 2023-07-26 | 79 | W | 2023-11-14 | 2023-11-14 | Br |  | 33.52 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
82 | MAY 2023 | 2023-07-26 | 82 | W | 2023-11-14 | 2023-11-14 | Br |  | 32.5 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
91 | MAY 2023 | 2023-07-26 | 91 | W | 2023-12-08 | 2023-12-08 | Br |  | 230.24 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
92 | MAY 2023 | 2023-07-26 | 92 | W | 2023-12-08 | 2023-12-08 | Br |  | 246.46 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
93 | MAY 2023 | 2023-07-26 | 93 | W | 2023-12-08 | 2023-12-08 | Br |  | 497.84 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
94 | MAY 2023 | 2023-07-26 | 94 | W | 2023-12-08 | 2023-12-08 | Br |  | 250.77 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
95 | MAY 2023 | 2023-07-26 | 95 | W | 2023-12-08 | 2023-12-08 | Br |  | 286.36 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
96 | MAY 2023 | 2023-07-26 | 96 | W | 2023-12-08 | 2023-12-08 | Br |  | 277.7 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
97 | MAY 2023 | 2023-07-26 | 97 | W | 2023-12-08 | 2023-12-08 | Br |  | 245.65 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
98 | MAY 2023 | 2023-07-26 | 98 | W | 2023-12-08 | 2023-12-08 | Br |  | 236.33 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
99 | MAY 2023 | 2023-07-26 | 99 | W | 2023-12-08 | 2023-12-08 | Br |  | 275.17 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
100 | MAY 2023 | 2023-07-26 | 100 | W | 2023-12-08 | 2023-12-08 | Br |  | 256.79 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
101 | MAY 2023 | 2023-07-26 | 101 | W | 2023-12-08 | 2023-12-08 | Br |  | 212.72 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
102 | MAY 2023 | 2023-07-26 | 102 | W | 2023-12-08 | 2023-12-08 | Br |  | 246.14 | mg Br/L | 0.06/ 0.0625 | SM4110B | Refrigerated | NA | CLH | 30, 36
The following person accepts responsibility for the contents of this report:
Name:____Jerome M Frank________________________________Signature:____JMF______________________________________Date:___10/03/2023___(V2, 12/11/2023)________

## QAQC
Sample ID | Sample Date | Received Date | NASL ID | Prep Date | Analysis Date | Parameter | Dup 1 | Dup 2 | Mean | Relative Percent Difference (%) | Unit | MDL/RL | Method | Analyst | Qualifiers/Comments
94 | MAY 2023 | 2023-07-26 | 94 | 2023-08-09 | 2023-08-09 | NH3 | 0.038 | 0.036 | 0.037 | 5.4054 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | VFN | 35
94 | MAY 2023 | 2023-07-26 | 94 | 2023-08-09 | 2023-08-09 | PO4 | 0.0056 | 0.0056 | 0.0056 | 0 | mg P/L | 0.0034/0.0102 | EPA 365.1 | VFN | 35,BR
82 | MAY 2023 | 2023-07-26 | GS82 | 2023-08-10 | 2023-08-10 | NO23 | 0.0014 | 0.0013 | 0.00135 | 7.4074 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | KB | 35
130 | MAY 2023 | 2023-07-26 | GS130 | 2023-08-10 | 2023-08-10 | NO23 | 0.0186 | 0.0188 | 0.0187 | 1.0695 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | KB | 35
Sample ID | Sample Date | Received Date | NASL ID | Prep Date | Analysis Date | Parameter | Actual | Expected | Original | Concentration Added | Matrix Spike Recovery (%) | Unit | MDL/RL | Method | Analyst | Qualifiers/Comments
13 | MAY 2023 | 2023-07-26 | 13 | 2023-08-09 | 2023-08-09 | NH3 | 0.476 | 0.45909 | 0.085 | 0.4 | 97.75 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | VFN | 35
76 | MAY 2023 | 2023-07-26 | 76 | 2023-08-09 | 2023-08-09 | NH3 | 0.369 | 0.4 | 0.02 | 0.4 | 87.25 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | VFN | 35,QC1,BR
100 | MAY 2023 | 2023-07-26 | 100 | 2023-08-09 | 2023-08-09 | NH3 | 0.38 | 0.39364 | 0.013 | 0.4 | 91.75 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | VFN | 35,BR
127 | MAY 2023 | 2023-07-26 | 127 | 2023-08-09 | 2023-08-09 | NH3 | 0.44 | 0.40909 | 0.03 | 0.4 | 102.5 | mg N/L | 0.009/0.027 | SM4500-NH3 G-2011 | VFN | 35
13 | MAY 2023 | 2023-07-26 | 13 | 2023-08-09 | 2023-08-09 | PO4 | 0.0844 | 0.077273 | 0.0106 | 0.0709 | 104.0903 | mg P/L | 0.0034/0.0103 | EPA 365.1 | VFN | 35
76 | MAY 2023 | 2023-07-26 | 76 | 2023-08-09 | 2023-08-09 | PO4 | 0.076 | 0.071273 | 0.004 | 0.0709 | 101.5515 | mg P/L | 0.0034/0.0103 | EPA 365.1 | VFN | 35,BR
100 | MAY 2023 | 2023-07-26 | 100 | 2023-08-09 | 2023-08-09 | PO4 | 0.071 | 0.070364 | 0.003 | 0.0709 | 95.9097 | mg P/L | 0.0034/0.0103 | EPA 365.1 | VFN | 35,L,BR
127 | MAY 2023 | 2023-07-26 | 127 | 2023-08-09 | 2023-08-09 | PO4 | 0.0776 | 0.072818 | 0.0057 | 0.0709 | 101.4104 | mg P/L | 0.0034/0.0103 | EPA 365.1 | VFN | 35,BR
19 | MAY 2023 | 2023-07-26 | GS19 | 2023-08-09 | 2023-08-09 | NO23 | 0.0363 | 0.038 | 0.0062 | 0.0318 | 94.6541 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | KB | 35
79 | MAY 2023 | 2023-07-26 | GS79 | 2023-08-10 | 2023-08-10 | NO23 | 0.0398 | 0.0423 | 0.0105 | 0.0318 | 92.1384 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | KB | 35
91 | MAY 2023 | 2023-07-26 | GS91 | 2023-08-10 | 2023-08-10 | NO23 | 0.037 | 0.0395 | 0.0077 | 0.0318 | 92.1384 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | KB | 35
118 | MAY 2023 | 2023-07-26 | GS118 | 2023-08-10 | 2023-08-10 | NO23 | 0.045 | 0.0461 | 0.0143 | 0.0318 | 96.5409 | mg N/L | 0.0009/0.0056 | EPA 353.2 CADMIUM | KB | 35
QAQC Name | Preparation Date | Analysis Date | Parameter | Expected | Actual | Percent Recovery (%) | Qualifiers/Comments
ICV 1.26 | 2023-08-07 | 2023-08-09 | NH3 | 1.26 | 1.2399 | 98.4048
ICV 1.26 | 2023-08-07 | 2023-08-09 | NH3 | 1.26 | 1.3547 | 107.5159
ICV 1.26 | 2023-08-07 | 2023-08-09 | NH3 | 1.26 | 1.3204 | 104.7937
ICV 1.26 | 2023-08-07 | 2023-08-09 | NH3 | 1.26 | 1.2622 | 100.1746
ICV 1.26 | 2023-08-07 | 2023-08-09 | NH3 | 1.26 | 1.3528 | 107.3651
ICV 1.26 | 2023-08-07 | 2023-08-09 | NH3 | 1.26 | 1.2748 | 101.1746
ICV 1.26 | 2023-08-07 | 2023-08-09 | NH3 | 1.26 | 1.3621 | 108.1032
ICV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.125 | 99.2063 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.132 | 104.7619 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.126 | 100 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.129 | 102.381 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.126 | 100 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.127 | 100.7937 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.126 | 100 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.131 | 103.9683 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.125 | 99.2063 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.117 | 92.8571 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.119 | 94.4444 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.124 | 98.4127 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.124 | 98.4127 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.119 | 94.4444 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.121 | 96.0317 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.124 | 98.4127 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.124 | 98.4127 | QC5
CCV 0.126 | 2023-07-24 | 2023-08-09 | NH3 | 0.126 | 0.124 | 98.4127 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.075 | 91.687 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.078 | 95.3545 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.078 | 95.3545 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.083 | 101.467 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.078 | 95.3545 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.079 | 96.577 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.079 | 96.577 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.081 | 99.022 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.081 | 99.022 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.077 | 94.132 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.076 | 92.9095 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.076 | 92.9095 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.08 | 97.7995 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.077 | 94.132 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.078 | 95.3545 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.075 | 91.687 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.087 | 106.357 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.089 | 108.802 | QC5
CRM | 2023-06-30 | 2023-08-09 | NH3 | 0.0818 | 0.089 | 108.802 | QC5
ICV 1.116 | 2023-07-18 | 2023-08-09 | PO4 | 1.116 | 1.1404 | 102.1864
ICV 1.116 | 2023-07-18 | 2023-08-09 | PO4 | 1.116 | 1.1665 | 104.5251
ICV 1.116 | 2023-07-18 | 2023-08-09 | PO4 | 1.116 | 1.1959 | 107.1595
ICV 1.116 | 2023-07-18 | 2023-08-09 | PO4 | 1.116 | 1.1959 | 107.1595
ICV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1504 | 101.0753
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1482 | 99.5968
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1493 | 100.336
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1534 | 103.0914
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1611 | 108.2661
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.156 | 104.8387
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1565 | 105.1747
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1574 | 105.7796
CCV 0.1488 | 2023-07-18 | 2023-08-09 | PO4 | 0.1488 | 0.1555 | 104.5027
ICV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0354 | 95.1613
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0361 | 97.043
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0366 | 98.3871
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0369 | 99.1935
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0394 | 105.914
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0378 | 101.6129
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0389 | 104.5699
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0385 | 103.4946
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0386 | 103.7634
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0379 | 101.8817
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0392 | 105.3763
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0395 | 106.1828
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0381 | 102.4194
CCV 0.0372 | 2023-08-07 | 2023-08-09 | PO4 | 0.0372 | 0.0392 | 105.3763
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0244 | 90.7063
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0248 | 92.1933
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0263 | 97.7695
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0246 | 91.4498
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0273 | 101.487
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0273 | 101.487
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0271 | 100.7435
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0273 | 101.487
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0263 | 97.7695
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0283 | 105.2045
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0283 | 105.2045
CRM | 2023-04-17 | 2023-08-09 | PO4 | 0.0269 | 0.0268 | 99.6283
CRM/ICV | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2106 | 99.3396
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2118 | 99.9057
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.213 | 100.4717
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2136 | 100.7547
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2136 | 100.7547
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2142 | 101.0377
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2142 | 101.0377
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2148 | 101.3208
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2154 | 101.6038
CRM | 2023-06-30 | 2023-08-09 | NO23 | 0.212 | 0.2154 | 101.6038
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0543 | 96.9643
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0558 | 99.6429
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0562 | 100.3571
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0562 | 100.3571
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0562 | 100.3571
CCV | 2023-07-27 | 2023-08-09 | NO23 | 0.056 | 0.0563 | 100.5357
CRM/ICV | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2076 | 97.9245
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2118 | 99.9057
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2118 | 99.9057
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2124 | 100.1887
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2124 | 100.1887
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2124 | 100.1887
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.213 | 100.4717
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.213 | 100.4717
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2142 | 101.0377
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2154 | 101.6038
CRM | 2023-06-30 | 2023-08-10 | NO23 | 0.212 | 0.2154 | 101.6038
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0521 | 93.0357
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0551 | 98.3929
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0556 | 99.2857
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0558 | 99.6429
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0558 | 99.6429
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.056 | 100
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0561 | 100.1786
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0562 | 100.3571
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0562 | 100.3571
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0562 | 100.3571
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0562 | 100.3571
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0563 | 100.5357
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0564 | 100.7143
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0564 | 100.7143
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0567 | 101.25
CCV | 2023-08-09 | 2023-08-10 | NO23 | 0.056 | 0.0568 | 101.4286

## Data Dictionary
Data Report Column Descriptions
Column | Title | Description
A | Sample ID | Sample identifier provided by client, usually indicate on COC and/or sample vessel
B | Sample Date | Date sample was taken or produced, usually indicated on COC and/or sample vessel
C | Received Date | Date sample arrived at NASL/CBL and entered the analysis queue
D | NASL ID | Sample identifier created by NASL, cross-referenced to COC and/or sample vessel
E | Matrix | Sample matrix: W = water, S = sediment, P = particulate, Q = laboratory QAQC. See table of CBL QAQC Terms below.
F | Prep Date | Some analytical methods require a digestion, extraction, or other form of processing to prepare the sample for analysis. This will coincide with analysis date for some paramters.
G | Analysis Date | Date final analysis performed. This will coincide with prep date for some parameters.
H | Parameter | Target analyte of analysis. See NASL Paramter table below
I | < MDL / RL | An "L" or "U" denoting the sample concentration is less than the stated MDL. MDL reported if "L". Actual value reported if "U". A "BR" denoting concentration less than the stated reporting limit.
J | Result | Analytical value
K | Units | Concentration description of analytical value. Typically milligrams (or microgram) of element (or compound) per liter of sample, or percent of element in sample. Ex: mg N/L, ug Chl/L, or %P.
L | MDL / RL | Method detection limit (MDL), see description below. Reporting limit (RL), see SOPs.
M | Method | Analytical method number
N | Method of Preservation | Common methods of preservation include: freezing, refrigeration, and acid addition
O | ELAP Cert # | ELAP certiciation number provided for ELAP certified parameters
P | Analyst | Initials of analyst.
Q | Qualifiers/Comments | Codes to indicate if any problems existed with the sample collection, preservation, transport, or analysis. See table of "CBL Data Qualifiers" below.
Q | Qualifiers/Comments | Any observations or special considerations not covered by "Qualifiers"
Column P - CBL Data Qualifiers | Description
1 | Laboratory accident, sample damaged during processing
2 | Insufficient sample - typically inadequate liquid volume or sediment mass required for requested analysis
3 | Analysis conducted by another laboratory
4 | Sample frozen when received (should have arrived un-frozen)
5 | Sample received thawed (should have arrived frozen)
6 | Sample not received, sample received in condition that prevents analysis
7 | Lost results
8 | Sample contaminated
9 | Sample results rejected due to quality control criteria
10 | Sample not preserved properly according to method specifications
11 | Analyzed in duplicate, results below detection limit
12 | Instrument failure
13 | Foil pouch very wet (salty) when received from field; mean reported
14A | Poor replication between pads, mean reported. Difference is within 50%.
14B | Poor replication between pads. Sample rejected because the difference is greater than 50%
15 | Sample size not reported - either mass or volume
16 | Sample mislabeled
17 | Over 20% of sample ahered to pouch and outside of pad
18 | Sample not collected
19 | Torn filter pad
20 | Pad unfolded in foil pouch
21 | Particulates found in filtered sample
22 | Assumed sample volume, usually based on COC (pouch vol used if different from COC) and only when verfication with sampler is not possible
23 | Value exceeds a theoretical equivalent, but is within analytical precision
24 | Is greater than the acid persulfate total phosphorus by less than or equal to 0.01 MG P/L
27 | If NO2 > NO23 by </= 0.0019 MG N/L at STD. CAL of 9.0 for both, or </= 0.0030 MG N/L at a STD. CAL of 9.0 for NO2 and a STD CAL of 6.0 for NO23
28 | Dissolved organic carbon > total organic carbon, Total Dissolved Phosphorus > Total Phosphorus, Total Dissolved Nitrogen > Total Nitrogen
29 | TVS > TSS, PIP > PP
30 | Samples received more than 28 days from date of collection
31 | Samples received within 28 days of collection, but not within 7 days of collection, thus analysis within 28 days of collection not practical
32 | Samples not analyzed within 28 days of collection
33 | Original analysis performed within 28 days of collection, but reanalysis/reported results performed after 28 days of collection due to instrument failures, concentration range changes, QA/QC failures, or time constraints.
34 | BOD final readings not taken at the 5 day ± 3 hour threshold.
35 | Sample collection data (such as collection date and time) omitted by client. As a result NASL not responsible for method specified holding times.
36 | Sample diluted or standard calibration range changed to bring concentration/sample within linear range
U | Value below method detection limit (MDL). Actual observed value reported.
L | Value below method detection limit (MDL). Method detection limit reported.
BR | Value below method reporting limit (RL). Actual observed value reported.
CBL QC Data Qualifiers | Description
QC1 | Spike recovery is outside method specified criteria
QC2 | Duplicates are outside method specified criteria
QC3 | CRM value is outside method specified criteria
QC4 | CCV value is outside method specified criteria
QC5 | Calibration point is outside method specified criteria
QC6 | Blank results outside method specified criteria
CBL QAQC Terms | Short name | Description
Initial calibration verification | ICV | Initial check standards run after the calibration curve
Continuing calibration verification | CCV | Check standards run at set points during the analysis
Certified reference material | CRM | Certified standard reference material purchased from an outside vendor.
Spike | SPK | Analytical sample which has been spiked with a known concentration.
Duplicate | DUP | Laboratory or field replicate of analytical sample
Blank | BLANK | Blank water, usually ASTM Type I water. Also known as reagent water.
NASL Parameters 2023
Parameter | Parameter - Short name | Units | 2023 MDL | Method
Nitrite | NO2 | mg N/L | 0.0009 | EPA 353.2 Rev 2.0, 1993
Ammonium | NH3 | mg N/L | 0.009 | SM4500-NH3 G-2011
Nitrite + Nitrate (enzyme) | NO23 | mg N/L | 0.0057 | ASTM D7781-14
Nitrite + Nitrate (cadmium) | NO23 | mg N/L | 0.0009 | EPA 353.2 Rev 2.0, 1993
Nitrate | NO3 | mg N/L | NA | Calculation. [NO23] - [NO2]
Phosphate (orthophosphate) | PO4 | mg P/L | 0.0034 | EPA 365.1 Rev 2.0, 1993
Silicate | Si | mg Si/L | 0.05 | SM4500-SIO2 E-2011
Total & Dissolved Organic Carbon | TOC/DOC | mg/L | 0.21 | SM5310B-2014
Total Dissolved Nitrogen | TDN | mg/L | 0.05 | Alkaline persulfate digestion, cadmium, EPA 353.2
Total Dissolved Phosphorus | TDP | mg/L | 0.0015 | Alkaline persulfate digestion, EPA 365.1
Total Dissolved Nitrogen (Aquakem) | TDN | mg/L | 0.05 | Alkaline persulfate digestion, ASTM D-7781, EPA 353.2
Total Dissolved Phosphorus (Aquakem) | TDP | mg/L | 0.0015 | Alkaline persulfate digestion, EPA 365.1
Chloride | Cl | mg/L | 0.08 | SM4110B
Sulfate | SO4 | mg/L | 0.09 | SM4110B
Bromide | Br | mg/L | 0.06 | SM4110B
Total Inorganic Carbon | TIC | mg/L | 0.17 | ASTM D-7573-09
Carbonate Alkalinity | ALK | mg/L | 0.75 | Calculation using ASTM D-7573-09
Particulate Phosphorus | PP | mg/L | 0.001 | Aspila, EPA 365.1
Particulate Inorganic Phosphorus | PIP | mg/L | 0.001 | Aspila, EPA 365.1
Particulate Nitrogen | PN | mg/L | 0.0263 | EPA 440.0
Particulate Carbon | PC | mg/L | 0.0633 | EPA 440.0
Sediment Particulate Phosphorus | PP | % P | 0.009 | ASPILA, EPA 365.1
Sediment Particulate Nitrogen | PN | % N | 0.01 | EPA 440.0
Sediment Particulate Carbon | PC | % C | 0.13 | EPA 440.0
Biogenic Silica | BiSi | mg/L | 0.03 | EPA 366.0
Chlorophyll, Total (Fluorometer) | CHL-TOTAL | ug/L | 0.68 | EPA 445.0, SM10200H.3
Phaeophytin (Fluorometer) | CHL-PHAEO | ug/L | 0.46 | EPA 445.0, SM10200H.3
Chlorophyll, Active (Fluorometer) | CHL-ACTIVE | ug/L | 0.69 | EPA 445.0, SM10200H.3
Chlorophyll, Sediment Total (Fluorometer) | CHL-SED-TOTAL | mg/m2 | 0.13 | EPA 445.0, SM10200H.3
Phaeophytin, sediment (Fluorometer) | CHL-SED-PHAEO | mg/m2 | 1.04 | EPA 445.0, SM10200H.3
Chlorophyll, Sediment Active (Fluorometer) | CHL-SED-ACTIVE | mg/m2 | 0.69 | EPA 445.0, SM10200H.3
Chlorophyll, Welschmeyer | CHL-NON ACID | ug/L | 0.84 | EPA 445.0, Modified
Chlorophyll (Spectrophotometer) | CHL-CORRECTED | ug/L | 0.62 | EPA 446.0, SM 10200H.2b
Phaeophytin (Spectrophotometer) | CHL-PHAEO | ug/L | 0.74 | EPA 446.0, SM 10200H.2b
Total Suspended Solids | TSS | mg/L | 2.4 | EPA 160.2, SM2540 D-1997
Total Volatile Solids | TVS | mg/L | 0.9 | SM2540
Hardness | HRD | mg/L | --- | EPA 130.1
Dissolved Metals | MET | mg/L | --- | EPA 200.7
Suspended Sediment Concentration | SSC | mg/L | 2.4 | ASTM D-3977-97B
Total Dissolved Solids | TDS | mg/L | --- | ASTM D-1125-14
Biological Oxygen Demand | BOD | mg/L | --- | SM5210B
NASL Quality Manual (QM), NASLDoc-053, NASL Data Dictionary
Effective Date: May 1, 2023
Revision No.: 2023-1
Special Series: SS-114-17 of the University of Maryland Center for Environmental Science